CHAPTER SEVEN

Revisions:
2014-01 02/03/2014 Revising Chapter Seven (BUILDING REGULATIONS); Add Articles 3, 4, 5 and 6.

Article 1 Section 7-1-5 Placement of Meters 2014-12 10-20-2014

2015-13 10/20-2015 

Fee Schedule Updated 4-3-2017 and Amended 6-19-2017

Article 6 Small Cell Wireless Facilities Code Added 7-16-2018

Permit Fees and Requirements for Sheds and Floating Decks 7-1-2, 7-1-3, 7-2-1 Amended 10-19-2020 
CHAPTER SEVEN

BUILDING REGULATIONS

ARTICLE 1:  CODE ADOPTIONS
SEC. 7-1-1:  Adoption of Building and Residential Codes

(A)
IBC adoption.  The 2012 edition of the International Building Code, as published by the International Code Council, Inc. including specifically Appendices C, F, H and I thereof, is hereby adopted as the Building Code for the City.  It is incorporated by reference as if fully set out in this Article, with the additions, insertions, deletions and changes described in Section 7-1-2 of the Knoxville Municipal Code.


(B)
IRC adoption.  The 2012 edition of the International Residential Code for One and Two-Family Dwellings, including specifically Appendices A, B, C, D, E, G (except subsection 9 in Section AG105 of Appendix G), H, I, J, K and L thereof, is hereby adopted as the Residential Code for the City.  It is incorporated by reference as if fully set out in this Article, with the additions, insertions, deletions and changes described in Section 7-1-3 of the Knoxville Municipal Code.


(C)
State Codes adoption.  The 2012 edition of the International Residential Code for One and Two-Family Dwellings, including specifically Appendices A, B, C, D, E, G (except subsection 9 in Section AG105 of Appendix G), H, I, J, K and L thereof, is hereby adopted as the Residential Code for the City.  It is incorporated by reference as if fully set out in this subchapter, with the additions, insertions, deletions and changes described in Section 7-1-3 of the Knoxville Municipal Code.

SEC. 7-1-2:  Amendments to the International Building Code

The 2012 edition of the International Building Code is amended in the following respects.


(1)
At Section 101.1, delete the words [name of jurisdiction] and insert the words “City of Knoxville, Knox County, Illinois, a municipal corporation.”


(2)
At Section 109.2, add the words:

“a.
Residential garages (attached or detached), $0.20 per square foot.

b.
Single-family and two-family residences, finishing basement/converting garage/attic to living space, $0.10 per square foot.

c.
Single-family and two-family residences (not including basement unless split foyer or finished for living space), $0.20 per square foot.

d.
Single-family and two-family residences (unfinished basement), $0.20 per square foot.

e.
Multifamily residential buildings (not including basement unless finished for living space), $15.00 for first $1,000 cost and $5.00 for each additional $1,000 or fraction thereof.

f.
Commercial and institutional buildings (when finished for retail or office use), $15.00 for first $1,000 cost and $5.00 for each additional $1,000 or fraction thereof.

g.
Warehouses and industrial buildings (when primarily unfinished), $15.00 for the first $1,000 cost and $5.00 for each additional $1,000 or fraction thereof.

h.
Nonresidential change of use or remodel, $15.00 for first $1,000 cost and $5.00 for each additional $1,000 or fraction thereof.

i.
Residential decks/ramps/porches, $25.00 per permit.

j.
Fence, $50.00 per permit.

k.
Swimming Pool in or above ground, $25.00 per permit.

l.
Utility sheds (less than 150 square feet), $25.00 per permit.

m. 
Floating (or unattached) decks, $25.00 per permit.” (m. added 10-19-2020)


(3)
Reserved.


(4)
At Section 101.4.1, amend by revising the first sentence to read as follows:

“The provisions of the currently adopted edition of the International Fuel Gas Code shall apply to the installation of gas piping from the point of deliver, gas appliances and related accessories as covered in this Code.”


(5)
At Section 101.4.3, change “International Plumbing Code” to “current version of Illinois State Plumbing Code” and amend last sentence to read as follows:

“The provisions of the current edition of the State of Illinois Private Sewage Disposal Licensing Act and Code, as published by the Illinois Department of Public Health and the Knox County Health Ordinance, Article IV Private Sewage Disposal shall apply to private sewage disposal systems.”


(6)
The Building Code is hereby amended by deleting therefrom, Sections 105.1.1 and 105.1.2.


(7)
Section 105.2 of the Building Code is hereby amended by deleting items 1 and 2, renumbering the remaining items and by deleting therefrom, Section 105.2, Electrical.


(8)
The Building Code is hereby amended by deleting therefrom, Section 107.3.1.


(9)
The Building Code is hereby amended by deleting therefrom, Section 110.3.7.


(10)
At Section 113, delete this Section in its entirety and insert, instead, the following:

“Any person shall have the right to appeal a decision of the Code Official to the Overall Code Review Commission, as established in Chapter 33 of the Knoxville Municipal Code.”


(11)
At Chapter 11, delete the text of this Chapter in its entirety.  Insert, instead, the following:

“The Environmental Barriers Act, ILCS Ch. 410, Act 25, §§ 1, et seq., is incorporated by reference as if fully set out in this Ordinance.”


(12)
At Chapter 13, delete this Chapter in its entirety.


(13)
The Building Code is hereby amended by deleting therefrom, Section 1510.3, Exception (2) and Section 1510.4, Roof Recovering.


(14)
At Section 1809.5, amend by revising the first sentence to read as follows:

“Except in compliance with the Knoxville Municipal Code in regards to Utility Sheds, Floating Concrete Slabs, and Existing Floating Slabs, or where otherwise protected from frost, foundation walls, piers and other permanent supports of buildings and structures shall be protected from frost by one or more of the following methods:”


(15)
At Chapter 29, delete this Chapter in its entirety.


(16)
At Section 3109.4.1.8, delete this Section in its entirety.


(17)
At Chapter 32, delete this Chapter in its entirety.


(18)
The Building Code is hereby amended by deleting therefrom, Section 3307, Protection of Adjoining Property.


(19)
The Building Code is hereby amended by deleting therefrom, Sections H101.2, Item (4), H104.1, H106.1.1, H109.1, H109.2, H110.3, H110.4, H110.5, H114, Table 4-A, and Table 4-B.


(20)
The Building Code is hereby amended by deleting therefrom, the fourth sentence from Section H110.1.


(21)
At Section H112.1, amend by revising the first sentence to read as follows:

“Projecting signs shall be securely attached to a building or structure by metal supports such as bolts, anchors, supports, chains, guys, or steel rods.”


(22)
At Section 1612.3, delete the words “[insert name of jurisdiction],” and insert, instead, the words “the City of Knoxville, Illinois”; and delete the words “[insert date of issuance]” and insert, instead, the words “December 19, 1984.”


(23)
Reserved.


(24)
At Section 3412.2, delete the words “[date to be inserted by the jurisdiction.  Note:  it is recommended that this date coincide with effective date of building codes within the jurisdiction],” and insert the words “June 16, 2016.”

SEC. 7-1-3:  Amendments to the International Residential Code

The 2012 edition of the International Residential Code for One and Two-Family Dwellings is amended in the following respects.


(1)
Section R101.1 is hereby revised to include, “City of Knoxville” in the place of “[Name of Jurisdiction].”


(2)
Section R105.2 of the Residential Code is hereby amended by deleting items 1 and 2 and renumbering remaining items.


(3)
Section R301.2 of the Residential Code is hereby amended by completing Table R301.2(1) as follows:

“Ground Snow Load – 20 pounds per square foot

Wind Speed (mph) – 75 miles per hour

Seismic Design Category – Zone B

Subject to Damage From:

Weathering – Severe

Frost Line Depth – 36 inches

Termite – Yes, moderate to heavy

Winter Design Temp – Minus 4

Ice Barrier Underlayment Required – Yes

Flood Hazard – Flood insurance rate map (FIRM) and flood boundary floodway map (FBFM), effective date June 19, 1985

Air Freezing Index – 1500

Mean Annual Temp – 50 degrees Fahrenheit.”


(4)
Section R302.1 of the Residential Code is hereby amended, so that as amended, the first sentence of the third Exception shall read as follows:

“Tool and storage sheds, playhouses and similar structures that are less than 150 square feet are not required to provide wall protection based on the location on the lot.”


(4.1)
The fourth Exception contained in Section 302.1 of the Residential Code is amended to read as follows:

“Detached garages accessory to a dwelling shall be permitted to be located 3 feet from the property line with a 0 hour fire-resistance rating.  Any portion of an accessory garage located less than 3 feet from the property line shall have a 1-hour fire-resistance rating.  Detached garages accessory to a dwelling located within 2 feet of a lot line are permitted to have roof eave protections not exceeding 4 inches.”


(4.2)
Section R302.1 of the Residential Code is amended by adding thereto the following exception:

“6.
All detached accessory structures must have a 4-foot minimum separation between the exterior walls.”


(5)
Section R403 of the Residential Code is hereby amended by adding the following provisions regarding Figure R403.1(1):

“a.
For masonry foundation walls, the footings shall be a minimum of sixteen (16) inches wide and eight (8) inches deep;

b.
Poured concrete trenches shall be a minimum of eight (8) inches wide for single story accessory structures utilizing frost footings; and shall meet the bearing width as required in Table R403.1 for 1 story, 2 story and 3 story dwellings and accessory structures with over 1 story;

c.
When an addition is being constructed to a structure with a footing depth of less than thirty-six (36) inches, the new addition must still comply with the thirty-six (36) inch frost footing requirements.”


(6)
The Residential Code is hereby amended by adding thereto the following Section:

“Sec. R409, Utility Sheds and Floating (or unattached) Decks.
Permanent foundations are not required for utility sheds of one hundred fifty (150) square feet or less with a height or eight (8) feet or less.  Utility sheds with no permanent foundation, however, must have a floor of one of the following:

Pressure-treated wood, metal, concrete, asphalt, brick, rock or gravel.  Such utility sheds must also be properly anchored in one of the following manners:

Bolting into concrete, screw anchors at each corner of the shed, or an approved equal.  Skids shall be permitted to remain under a utility shed.”



      Floating decks shall be secured in an equivalent manner.  


(7)
The Residential Code is hereby amended by adding thereto the following Section:

“Sec. R506.2.5, Floating Concrete Slabs.
A floating concrete slab may be utilized in one-story accessory buildings, provided:

a.
The slab covers an area of one thousand (1,000) square feet or less;

b.
A lug eight (8) inches in width is constructed around the perimeter of the slab which extends at least eight (8) inches below the top of said slab;

c.
The slab and lug consists of a continuous pour of concrete;

d.
No water or sewer lines serve the building;

e.
The building is securely anchored to the slab through an approved fashion; and

f.
A pressure-treated bottom plate is used on all concrete slab installations, including those utilizing a curb.”


(8)
The Residential Code is hereby amended by adding thereto the following Section:

“Sec. R506.2.6, Existing Floating Slabs.
An existing floating slab may be utilized in the construction of a new accessory building, provided the existing slab meets the approval of the Building Official.  In the event a new section of concrete is to be added on to an existing floating slab, the following requirements shall be met:

a.
The existing slab must meet the approval of the Building Official;

b.
The new section of concrete shall be tied to the existing slab by one-half (1/2) inch reinforcement bars placed eighteen (18) inches on center and run six (6) inches into the existing slab and eighteen (18) inches into the area to be poured; and

c.
All of the requirements under Section R506.2.5, except item c., shall be followed.”


(9)
The Residential Code is hereby amended by deleting therefrom, Section 907.3, Exception (2) and Section R907.4, Roof Recovering.


(10)
Section R1001.11 of the Residential Code is hereby amended by adding thereto the following:

“Exceptions:


5.
Steel studs with zero (0) inch clearance may be utilized in lieu of wood or combustible framing with the two (2) inch clearance.”


(11)
Section R1006.1 of the Residential Code is hereby amended, so that as amended, it shall read as follows:

“Factory-built or masonry fireplaces covered in this Chapter may be equipped with an exterior air supply to assure proper fuel combustion unless the room is mechanically ventilated and controlled so that the indoor pressure is neutral or positive.”


(12)
The Residential Code is hereby amended by deleting therefrom, Part IV, Energy Conservation, which includes Chapter 11.


(13)
Reserved.


(14)
The Residential Code is hereby amended by deleting therefrom, Section M1305.1.1.


(15)
Section M1601.1.2 of the Residential Code is hereby amended by deleting “or shall be completely encased in concrete not less than 2 inches (51 mm) thick” from the sixth and seventh lines.


(16)
Section M1601.4.1 of the Residential Code is hereby amended, so that as amended, the last sentence of the second paragraph shall read as follows:

“Crimp joints for round ducts shall have a contact lap of at least one and one-half (1-1/2) inches and shall be mechanically fastened by means of at least two (2) sheet metal screws, or rivets equally spaced around the joint, or an equivalent fastening method.”


(17)
Section M1602.2(4) of the Residential Code is hereby amended, so that as amended, it shall read as follows:

“(4)
A closet, bathroom, toilet room, garage, mechanical room, furnace room, or other dwelling unit.”


(18)
Reserved.


(19)
Section M2005.1 of the Residential Code is hereby amended, so that as amended, the first sentence shall read as follows:

“Water heaters shall be labeled and shall be installed in accordance with the manufacturer’s installation instructions and the Illinois State Plumbing Code.”


(20)
Section M2101.1 of the Residential Code is hereby amended by revising Table M2101.1 to include a footnote 5 to read as follows:

“Type M copper tubing shall only be used above ground.”


(21)
Section M2101.3 of the Residential Code is hereby amended, so that as amended, it shall read as follows:

“The potable water system shall be protected from backflow in accordance with the most current Illinois State Plumbing Code.”


(22)
The Residential Code is hereby amended by deleting therefrom, Section M2101.4.


(23)
The Residential Code is hereby amended by deleting therefrom, Section M2101.7.


(24)
Section G2414 of the Residential Code is hereby amended by deleting Section G2414.5.2, Copper Tubing, to eliminate copper tubing and copper pipe from use as allowed, natural gas supply piping materials, interior and exterior.


(25)
Section G2448.1 of the Residential Code is hereby amended, so that as amended, it shall read as follows:

“Water heaters shall be tested in accordance with ANSI Z21.10.1 and ANSI Z21.10.3, and waters heaters shall be labeled and shall be installed in accordance with the manufacturer’s installation instructions and the Illinois State Plumbing Code.”


(26)
The Residential Code is hereby amended by deleting therefrom, Part VII, Plumbing, which includes Chapters 25, 26, 27, 28, 29, 30, 31, 32, and 33.”


(27)
Section AI101.1 in Appendix I of the Residential Code is hereby amended, so that as amended, it shall read as follows:

“AI101.1 Scope.  

Private sewage disposal systems shall conform to the current edition of the State of Illinois Private Sewage Disposal Licensing Act and Code, as published by the Illinois Department of Public Health and the Knox County Health Ordinance, Article IV, Private Sewage Disposal.”


(28)
Section AG109 in Appendix G of the Residential Code is hereby amended by the addition of the following subsection:

“AG1-9 Locations.  

Private swimming pools shall not encroach on any front or side yard required by this Code or by the governing zoning law, unless in accordance with specific rules of the jurisdiction in which the pool is located.  A wall of a swimming pool shall not be located less than 6 feet from any rear or side property line and must maintain the required front yard setback off any street side property line.”


(29)
The Residential Code is hereby amended by adding thereto, the following subsection:

“R405.2.4.

A sump pit, a minimum of 18 inches in diameter by 22 inches deep shall be installed in all new construction crawl spaces that are not attached to a basement.”

SEC. 7-1-4:  Tracer Wires

1. When a new water or sewer connection is installed, or an existing water or sewer connection is uncovered, renovated or modified, and said connection consists of PVC or plastic or like materials, the water, sewer or gas connection shall have a continuous, solid 12 gauge or larger sheathed coated, suitable for direct burial tracer wire with one end brought out in an accessible location.  
2. No work to install, modify, uncover, renovate or modify a water or sewer connection shall be covered until the Building Administrator or his or her deputy confirms compliance with this Section.  In addition to, or in lieu of, denying coverage of such work, the City may seek all other remedies provided by law or ordinance, including the penalties provided under Sec. 1-1-11 of the Knoxville City Code. 

3. A copy of this Section shall be provided to every contractor or Owner who seeks a permit to install, modify, uncover, renovate or modify a water or sewer connection.  Notwithstanding any provision to the contrary, the failure of the City to provide such a copy of this Section shall not constitute as a defense to a violation of this Section.
SEC. 7-1-5:  Placement of Electric Meters and Gas Meters
Notwithstanding any other provision of this Chapter, or any provision of any Code (or amended Code) adopted by Article 1 of this Chapter or otherwise incorporated by reference, no electric current meter or gas meter shall be installed, maintained, or permitted to remain on the front side of any commercial building within the City’s corporate limits.  

For purposes of this Section, a commercial building is any building where service or products are provided or sold to customers or clients.  

For purposes of this Section, the front side of a commercial building is any side of the building facing a street, alley or sidewalk which possesses an entrance which is regularly accessible to customers, clients or the general public.  A commercial building may possess more than one front side.  
ARTICLE 2:  Permits, Fees, Etc.
SEC. 7-2-1:  Building Permit
The following types of structures do not require a City Building permit: steps not attached to any building.  Steps which are not attached to any building are not required to meet the set-back requirements of the City’s zoning ordinance but shall be placed far enough from the property line so as to permit use and maintenance without encroaching on adjoining property.  (Added 12-6-2000) (Amended 10-19-2020)
The following types of structures are included among those requiring a permit prior to construction:  open decks attached to a residence or other building; any structure having a roof (with or without side enclosures); sheds and floating decks which are required by this Code to be secured, any building on skids over 100 square feet and any movable structure placed on a fixed foundation.  All such structures shall conform to provisions of this Chapter of the Knoxville City Code and shall conform to the City of Knoxville Zoning Ordinance with respect to structure height, lot coverage, number of stories, floor area ratio, distance between buildings and minimum set-back requirements – except (1) floating decks or 100 square feet or less and (2) buildings of 100 square feet or less on skids shall not be required to meet the set-back requirements of the City’s zoning ordinance but shall be placed in back yards only, and shall be placed far enough from the property line so as to permit use and maintenance without encroaching on adjoining property.   (Added 12-6-2000) (Amended 10-19-2020)
Any person who desires to construct a new building, or modify an existing building so as to increase any exterior dimension(s), shall apply directly (or through an authorized representative) for a City building permit (Reference Appendix B Sec. 7-2-1-A) from the Building Administrator (or other authorized representative of the City) prior to beginning any part of the construction work.  The Building Administrator shall require such information, including items such as a scale drawing of the lot showing the outline of the building or enlargement and its placement on said lot, set-back dimensions, specific description of the proposed building relative to type of structure, number of stories, roof design and/or any other items specified in the BOCA National Building Code under the section regarding application for permit.  The Building Administrator (or other representative of the City who is authorized to issue building permits) shall determine whether such proposed building or enlargement will comply with all the provisions of the City Zoning Ordinance.

If the Building Administrator (or other authorized representative of the City) determines that the proposed building or enlargement is in full compliance with the applicable provisions of the City Zoning Ordinance, he/she shall issue the building permit subject to the payment of the appropriate fee as stipulated in this article.

If the Building Administrator (or other authorized representative of the City) determines that the proposed building or enlargement will not fully conform to the applicable provisions of the City Zoning Ordinance, he/she shall not issue a building permit until such time that the necessary revisions of the proposed plans are made to fully comply, or a variance to the Zoning Ordinance which authorizes the non-compliance has been officially granted by the City Council.

SEC.  7-2-2:  Building and Other Permit Fees
The City Council, from time to time, shall establish building permit fees for the following types of buildings (Reference Appendix A SEC.  7-2-2-A):

(1) Residential garages (attached or detached),

(2) Residences (not including basement unless split foyer and affording living space),

(3) Commercial buildings (when finished for retail or office use),

(4) Warehouses (when primarily unfinished inside or of the pole type),

(5) Any attached appurtenance to any of the above-described buildings

  (6)
Fence construction (Added 12-6-2000)

  (7) 
Swimming pool construction (Added 12-6-2000)

  (8)
Attached deck or porch (Added 12-6-2000)

  (9)
Building on skids over 100 square feet (Added 12-6-2000)

  (10)
Movable structure on fixed foundation (Added 12-6-2000), and/or

(11)
Any other type of building determined as necessary or appropriate subsequent to the adoption of this chapter.

SEC.  7-2-3:  Enforcement of Building Permits
Any construction which is commenced or completed without a building permit including either an initial building permit or a replacement building permit), when said permit is required under this chapter, is a violation of this Chapter punishable under the provisions of Section 7-5-1.  Each day that construction is conducted, or construction is left in an incomplete condition, without a building permit shall constitute a separate violation.

The Building Administrator (or other authorized representative of the City) may send written notice (Reference Appendix B SEC. 7-2-3-A) to the owner or person in possession of the premises that a permit is required.  The decision to issue such notice, however, shall be at the sole discretion of the Building Administrator (or other authorized representative of the City) and shall not be prerequisite to the imposition of penalties under the provisions of Section 7-5-1 or the issuance of an Administrative Warning Ticket under the provisions of Section 7-5-4.

The provisions contained in this section shall be in addition to all other remedies available to the City for the failure to obtain any required building permit. 

SEC.  7-2-4:  Demolition or Removal Permit
Before any residential type building or other type principal building may be demolished in whole or in part, or removed by any means from a particular parcel of real property within the City of Knoxville, the owner (or his/her authorized representative) shall secure a demolition or relocation permit (Reference Appendix B SEC. 7-2-4-A) from the City through the Building Administrator (or other authorized representative of the City) and pay the stipulated fee therefor.  The person who secures a demolition or removal permit from the City shall be responsible for notifying each utility having a service connection to the building to be demolished or removed and having each such service properly shut off or disconnected prior to beginning the demolition or removal of that building.

SEC.  7-2-5:  Demolition or Removal Permit Fees
The demolition or removal permit fee shall be established by City Council resolution from time to time (Reference Appendix A SEC. 7-2-5-A).

SEC.  7-2-6:  Enforcement of Demolition and Removal Permits
The provisions of SEC. 7-2-3 regarding the enforcement of building permits shall also be applicable for any demolition or removal of a building for which a permit is required under this chapter.

SEC.  7-2-7:  Expiration of Permits
Any initial building permit issued under the provisions of this Chapter shall expire if any stage of construction is not completed within the respective time limit following the date the permit is issued:  (1) Building construction to begin within six months; and (2) completion of outside of building within 12 months.  Non-completion of any phase of the 

construction process within the respective time period will require a replacement permit at the then current rate for an initial permit.  If a second replacement permit is needed the fee shall be the then current rate for an initial permit plus $500.  If an application for a replacement permit is not received by the City within 15 days after the notice provided for in this Article (Reference Appendix B, Section 7-2-3-B) is mailed, failure to acquire a permit will fall under the provisions of Section 7-2-3.  (Revised 12-6-2000)

Any initial demolition or removal permit issued under the provisions of this Chapter shall expire 12 months from the date of issue.  If the demolition or removal is not completed within that time a replacement permit shall be required at the then current fee which also shall expire in 12 months.  Failure to acquire replacement permit following notification (Reference Appendix B, Section 7-2-3-B) shall be processed under the provisions of Section 7-2-3.  (Revised 12-6-2000)

SEC.  7-2-8:  Fences (Revised 7-7-2008)

A permit is required for the construction of a fence within the City.

All fences shall conform to the height and location requirements of Sections 31-3-36, 37 and 38 of the Knoxville Municipal Code.  In addition, any fence shall be (1) placed far enough inside the property line to permit construction/erection and maintenance of the side next to the property line without encroaching on the adjoining property except as provided below, and (2) constructed so that the finished side faces toward the adjoining property with the supporting structure side facing the interior of the fenced property.  (Revised 7-7-08)

A chain link or maintenance free type fence may be placed on the property line in either of the following situations:  (1) the cost of the fence is being shared by the two adjoining property owners, or 2) the cost is not being shared but the adjoining property owner(s) provides the City with written permission for locating the fence on the property line. (Revised 7-7-08).

Any fence in existence as of December 6, 2000 which is subsequently replaced shall be constructed/erected in accordance with the provisions of this section. (Revised 7-7-08).

SEC.  7-2-9:  Fence Permit (Added 12-6-2000)

If the building administrator (or other authorized representative of the City) determines that the proposed fence is in full compliance with the applicable provisions of Section 7-2-8 the permit shall be issued subject to the payment of the permit fee as stipulated in this article.

If the proposed fence does not comply with the necessary provisions no permit shall be issued until the proposed fence does comply unless the City Council grants a variance.

A fence permit shall expire in six months from date of issue if construction of the fence is not completed.  A replacement permit for extension of time shall be required at the same charge as an initial permit at the current fee and shall be for the same length of 

time.  Failure to acquire any permit following notice (Reference Appendix B, Section 7-2-3-A or B) shall be processed under the provisions of Section 7-2-3.

SEC.  7-2-10:  Fence Permit Fee  (Added 12-6-2000)

The City Council, from time to time, by resolution shall establish a fence permit fee (Reference Appendix A, Section 7-2-2-A).

SEC.  7-2-11:  Swimming Pools  (Revised 7-7-2008)
(1) A private swimming pool (“pool”) is a man-made, rigid or semi-rigid receptacle for water having a depth at any point greater than eighteen inches (18”), used or intended to be used for swimming, wading or bathing and constructed, installed or maintained above or below the ground, which is used exclusively by the owner or occupant of the lot or premises in the City, his family and his guests.  A private swimming pool will include a pool, hot tub or spa.

(2) An in-ground pool is classified as a permanent structure.  An above ground

      pool is classified as a semi-permanent structure.  Both type pools require a

      permit prior to construction/erection, and shall meet the setback requirements

      for buildings.   (Revised 7-7-08)

(3) Private pools, hot tubs and spas, containing water shall be completely surrounded by a fence or barrier at least forty-eight (48) inches in height above the finished ground level measured on the side of the barrier away

from the pool.  Gates and doors in such barriers shall be self-closing and self-

latching.  Where the self-latching device is less than fifty-four (54) inches above the bottom of the gate the release mechanism shall be located on the pool side of the gate. Self-closing and self-latching gates shall be maintained such that the gate will positively close and latch when released from an open position of six (6) inches from the gatepost.  No existing pool enclosure shall be removed, replaced or changed in a manner that reduces its effectiveness as a safety barrier.

(4) When a private swimming pool is constructed to a height equal to or greater than forty eight inches (48”) above ground level and is so constructed that the pool itself is an effective barrier to small children so as to prohibit any access to such pool, then the requirements of this subsection for fences may be waived.  Any ladders used for access to the pool shall be of a locking type or shall be removable so as to prevent the accessibility of small children.

(5) Pool, Hot Tub, Spa Covers:  In the event that the owner of a private temporary or permanent  swimming pool, hot tub or spa does not enclose the pool in the manner provided above, at any time that the pool remains unattended, the owner shall provide a cover for the pool, hot tub or spa and the cover shall be:

a. Of a rigid construction capable of supporting a weight of not 

less than one hundred fifty (150) pounds at its center.

b. Locked and secured to the sides of the pool, hot tub or spa so as to

prevent the use of the pool, hot tub or spa.

(6) When any private temporary or permanent swimming pool, hot tub or spa remains unattended, all movable furniture, ladders, equipment and any other objects capable of being drawn to the side of the pool, hot tub or spa area shall be removed from the surrounding enclosure.  Such means of access shall be stored in a secure place and in such a manner so as to prevent same from being used to gain access to the pool, hot tub or spa enclosure.

SEC.  7-2-12:  Swimming Pool Permit  (Revised 7-7-2008)


If the Building Administrator (or other authorized representative of the City) determines

that the proposed pool location conforms to the building setback requirements the permit shall be issued subject to the payment of the permit fee as provided in this chapter. The pool permit shall include the enclosing fence as required by this chapter.  If the pool is the self standing type with no other means of support for the outer perimeter than compressed air pressure, or if the pool is designed so that it must be emptied for the winter, then the permit fee shall be the same as established by the City Council for a fence permit and include the enclosing fence.

If the proposed pool location does not comply with the setback requirements no permit shall be issued and the pool shall not be constructed/erected until the requirements are met or a variance has been granted by the City Council and a permit has been issued.

An initial pool permit shall expire if construction/erection is not completed within six months from the date of issue.  A replacement permit for an extension of time shall be required for the same length of time at the then current permit fee.  Failure to acquire any permit following notification (Reference Appendix B, Section 7-2-3-A or B) shall be processed under the provisions of Section 7-2-3.  (Revised 7-7-08)

SEC. 7-2-13 Swimming Pool Permit Fee

The City Council, from time to time, by resolution shall establish a swimming pool permit fee (Reference Appendix A., Section 7-2-2-A).

SEC.  7-2-14:  Protection of the City  (Renumbered 12-6-2000)

Any person responsible for any building, demolition or removal activity within the City of Knoxville shall be responsible for holding the City harmless in the event of any accident connected with such project, regardless of whether a permit is required under this chapter.  Precautionary measures to assure compliance with this section would include, but not necessarily be limited to, erecting a fence around the property and/or securing insurance.

Any person who disregards his/her responsibility to hold the City harmless as required under this chapter shall be subject to suit by the City.

SEC. 7-2-15:  Certificate of Occupancy and Compliance

Upon completion of work for which a building permit has been issued as provided herein, the Knoxville Building Administrator (or other authorized representative of the City) shall inspect the premises, and if the work has been completed in accordance with the ordinance of the City, shall issue a Certificate of Occupancy and Compliance in a form approved by the City.  (Reference Appendix B, Sect 7-2-15A).  A record of all Certificates of Occupancy and Compliance shall be kept on file in the City Offices, and copies shall be furnished on request to any person holding a propriety or tenancy interest in the premises, or in a building affected by such Certificate of Occupancy or Compliance.

ARTICLE 3:  Unsafe Buildings and Residences
SEC. 7-3-1:  Definition of Unsafe Building

For the purpose of this Chapter, unsafe building shall mean any building, shed, fence or any other structure which, because of its:

(1)
General condition, or


(2)
Faulty or partial construction, or


(3)
Inadequate maintenance, or


(4)
Dilapidation or deterioration, or


(5)
Lack of adequate doors or windows, or


(6)
Abandonment, or


(7)
Partial demolition or destruction, or


(8)
Any other cause, is

(a)
Dangerous to the public health, and may cause or aid in the spread of disease or injury to the occupants thereof or of neighboring buildings; or

(b)
Especially liable to fire, and constitutes or creates a fire hazard; or

(c)
Especially liable to cause injury or damage by collapsing or by a collapse or fall of any part of such structure, or is otherwise structurally unsafe; or

(d)
Available to and frequented by vagrants, transients, malefactors or disorderly persons, who are not lawful occupants of such structure.

SEC. 7-3-2:  Declared a Nuisance


Any unsafe building within the City is hereby declared to be a nuisance, and all such buildings shall be abated by repair, rehabilitation, demolition or removal in accordance with the provisions of this Chapter.

Nothing in this Chapter shall be construed as limiting any condition on land to also be declared a nuisance under the provisions of the “Nuisance Code of the City of Knoxville” (Chapter 15 of the Knoxville Municipal Code).

SEC. 7-3-3:  To Allow Unsafe Buildings Declared Unlawful

It shall be unlawful for any person to permit the existence of any unsafe building within the City; and it shall be unlawful for the owner, occupant or person in control of any unsafe building to permit the same to remain in an unsafe condition, or to occupy such building or permit the same to be occupied while it is or remains in an unsafe condition.
SEC. 7-3-4:  Inspection; Notice to Abate, Notice to Vacate

(a) The Building Administrator shall examine or cause to be examined every building or structure reported to be unsafe, and whenever, upon due investigation, the Building Administrator shall be of the opinion that any building or structure in the City is an unsafe building, he shall file a written statement to this effect with the City Clerk.

(b) The City Clerk shall thereupon cause due notice in writing to be served upon the owner or owners of such building or structure, stating that the building has been declared to be in an unsafe condition, setting forth the causes therefor, and that such unsafe condition must be removed or remedied by repairing or altering the building or structure or by demolishing or removing the same.  Such notice shall require the owner or person in control of the building or structure to commence the required repairs, improvement, demolition or removal of the building or structure, and all such work shall be completed within fifteen (15) days of the date of such notice, unless for special reasons stated a longer time is allowed, but in no case to exceed one hundred twenty (120) days.


(c) Should the conditions require, for reasons of public welfare and safety, such notice shall also require the building or structure to be vacated immediately and not reoccupied until the required repairs or improvements are completed, the building inspected and final approval given by Building Administrator.

SEC. 7-3-5:  Due Notice

(a) Except where otherwise provided in this Chapter, “due notice” shall consist of personal service to owners of record of the real estate involved, or by registered mail sent to the last known address of such owner or owners, by posting such notice in the registered mail, postage prepaid.

(b) Whenever, upon diligent search, the identity or whereabouts of such owner or owners shall not be ascertainable, notice mailed to the person or persons in whose name such real estate was last assessed shall constitute sufficient notice.

SEC. 7-3-6:  Public Notice of Unsafe Building

(a) Whenever any building or structure is found to be unsafe for occupancy, or detrimental to the public welfare and safety, the Building Administrator shall post or cause to be posted at each entrance to such building or structure a notice to read “DO NOT ENTER, UNSAFE TO OCCUPY, BUILDING ADMINISTRATOR, CITY OF KNOXVILLE, ILLINOIS.”

(b) Such notice shall remain posted until such repairs, improvements, demolition or removal has been completed, and no notice so posted shall be removed without written permission by the Building Administrator or the City Council and no person shall enter such building or structure, except for the purpose of making the required repairs, inspection, demolition or removal of the said building.  Violation of this Section shall be a misdemeanor punishable by the fines set forth in Section 7-5-1 of this Chapter. 

SEC. 7-3-7:  Failure of Owner to Abate

In the event the owner or owners of any unsafe building, after fifteen-days' written notice, have neglected, refused or otherwise failed to put such building in a safe condition or to demolish it, the City Council may make or cause to be made application to the Circuit Court of Knox County, in the manner as provided by statute, for an order authorizing the City to demolish or repair, or cause the demolition or repair, of dangerous and unsafe building or uncompleted and abandoned building.  Thereafter, the City, or any contractor employed by the City, may, to the fullest extent provided by statute, recover from the owner or owners the costs to repair or demolish the building, and/or perfect a lien on the property for said costs.  Remedies in this Section are cumulative to all other remedies available to the City under this Chapter, including, but not limited to, the imposition of fines and penalties as provided in Section 7-5-1 of this Chapter.
SEC. 7-3-8:  Expedited Appeal of Notice to Abate or Notice of Unsafe Building 


The following determinations of the Building Administrator shall be subject to an expedited appeal at the written request of any owner or person in control of any unsafe building or structure that is the subject of the determination:

(a)
The determination to issue a notice to abate, or the terms and deadlines of corrective action required by a notice to abate, where said notice to abate is issued pursuant to Section 7-3-4 of this Chapter; or

(b)
The determination to post a public notice pursuant to Section 7-3-6 of the Chapter; or 

(c)
The refusal of the Building Administrator to allow the entrance of person or persons into an unsafe building after the posting of a public notice pursuant to Section 7-3-6 of this Chapter.


All other determinations of the Building Administrator shall be subject to the normal appeal process set forth in Article 5 of this Chapter.


To initiate such an expedited appeal, the owner or person in control of the unsafe building or structure shall file, with the City Clerk or City Collector, a written appeal request.  The written appeal request must state that an expedited appeal is requested.  The written appeal request must be signed and provide the appellant’s name, address, telephone number, address of the unsafe building, and the determination or action from which appeal is sought.  The written appeal request must be filed within five (5) business days of the action or determination.


Within seven (7) days of receipt of the written appeal request, the City Council shall hold a hearing and render a final decision.  To the extent practical under the expedited appeal schedule, the City Council shall follow the procedures set forth in Sections 7-5-7 and 7-5-8 of this Chapter. 

ARTICLE 4:  Appointment and Powers of Building Administrator
SEC. 7-4-1:  Appointment and Compensation of Building Administrator

The Mayor, with the advice and consent of the City Council, shall appoint a Building Administrator for the City of Knoxville, Illinois.  Any Building Administrator appointed before the adoption of this Chapter, as revised, shall continue in such position without need of a new appointment.  

The Building Administrator shall serve an indeterminate term, not to exceed the term of the Mayor, performing duties as reasonably needed or assigned, from time to time, by the Mayor and City Council, and shall receive such compensation, at an hourly rate, set by the City Council from time to time, provided that nothing in this Chapter shall prohibit the adoption of a resolution to pay the Building Administrator a set salary.  Nothing in this Chapter shall prohibit the removal of the Building Administrator, with or without cause, and the appointment of a successor Building Administrator.

SEC. 7-4-2:  Appointment of Deputy and Acting Building Administrators

The Building Administrator, with the consent of the Mayor, may appoint one or more deputy building administrators to assist the Building Administrator in the performance of his or her duties, during any time period which the Building Administrator is unavailable to perform said duties.  Such deputy building administrators shall receive compensation at the hourly rate set, from time to time, by the City Council.  Such deputy building administrators shall exercise all the responsibilities and powers of the Building Administrator as set forth in this Chapter.

Should the Building Administrator be unavailable or abandon the duties of his or her office, and the Mayor determines, in his or her sole discretion, that the services of an acting building administrator is required to protect the public and enforce the provisions of this Chapter, the Mayor may appoint an acting building administrator, who shall exercise all the responsibilities and powers of the Building Administrator as set forth in this Chapter, provided further, the Mayor shall report such decision to the City Council within 30 days of appointment of the acting building administrator, at which time the City Council may vote (i) to ratify or reverse any actions of the acting building administrator.  At such time as he makes said report, the Mayor may also nominate the acting building administrator to serve as Building Administrator, pursuant to the procedures for appointing a Building Inspector set forth in Section 7-3-1 of this Chapter.

SEC. 7-4-3:  Powers and Responsibilities of the Building Administrator

The Building Administrator is authorized and directed to enforce all provisions of this Chapter, including specifically, those portions of the IBC, the IRC and other codes adopted by reference. In carrying out these responsibilities, the Building Administrator shall, as he or she deems necessary, consult with and consider the suggestions of other departments, employees and officers of the City, including, but not limited to, the public works department, the City Engineer and City Attorney.  The Building Administrator may also confer with the Fire Protection District and consider its recommendations with respect to whether any permit required by this Chapter should issue.  The Building Administrator may investigate any violation of this Chapter, either upon complaint or upon his or her own initiative.  The Building Administrator may, upon probable cause and in concert with the City Attorney, apply to the Circuit Court for such administrative warrants as may be necessary to investigate violations of this Chapter.  The Building Administrator, upon request of the City Attorney, shall testify and present evidence regarding violations of this Chapter.   

ARTICLE 5:  Penalties, Enforcement and Appeals

SEC. 7-5-1:  Enforcement of Codes and Penalties for Violations

Any person who shall violate any provision of this Chapter or shall fail to comply with any of the requirements thereof (including the requirements of any code adopted by reference by this Chapter) or who shall erect, construct, alter, demolish or repair a building or structure in violation of an approved plan or directive of the Building Administrator or a permit or certificate issued under the provisions of this Code shall be guilty of a misdemeanor punishable by a fine under the penalty provisions of Section 1-1-11 for each offense.  Each day that a violation continues shall be deemed a separate offense. 

SEC. 7-5-2:  Penalty Does Not Excuse Violations

The imposition of a penalty hereunder shall not excuse the violation nor shall it permit the continuance of any such violation.  Failure to take corrective action, even after the imposition of a penalty, may result in the imposition of additional fines or penalties for each day the violation continues.

SEC. 7-5-3:  Penalty in Addition to Correction

The penalty herein provided shall be in addition to any correction, removal, demolition or destruction order that may be entered.  In addition to imposing financial penalties, the City may petition the Circuit Court of Knox County, Illinois for injunctive relief to prevent, remedy or correct any violation of this Chapter or to enjoin occupancy, construction, alteration, demolition or use of any building or residence in violation of this Chapter.

SEC. 7-5-4:  Administrative Fine in Lieu of Prosecution

The Building Administrator, at his sole discretion, or any Knoxville police officer acting under the Building Administrator’s advice or direction, may issue an Administrative Warning Ticket (AWT), provided that if the person issued said AWT does not pay the Administration Fee, and correct all violations of this Chapter, within fifteen (15) days of receipt of the AWT, then a Complaint shall issue against said person, and said person shall be subject to all fines set forth in Section 7-5-1 of this Chapter, as well as all other remedies available the City under this Chapter. The amount of the Administration Fee shall be as set, from time to time, by the City Council, but in no case shall said Administration Fee be less than Seventy-five dollars ($75.00) for any violation of this Chapter. The form of the AWT issued for a violation of this Chapter shall be substantially as approved, from time to time, by the City Council, but it shall not be a defense to any violation of this Chapter that the form of any AWT issued was incorrect or differed from the AWT approved by the City Council.  

EXHIBIT A TO ORDINANCE

Knoxville Building Administrator
Ticket No. 




State of Illinois

)

County of Knox
)

CITY ORDINANCE/ADMINISTRATIVE WARNING TICKET

	Defendant Information:

Name











     LAST

     FIRST


M.I.

Address









City




 State

 ZIP



	Date of Offense  
/
/20




         MM/DD/Year 

Note that each date the offense remains uncorrected may constitute a separate offense subject to additional fines. 



	Location of Offense:  











           In Knoxville, Illinois.

	Defendant Did Unlawfully Commit the Following Violations(s):


  Construction Without  Building Permit, Sec. 7-2-1 


  Demolition or Removal of Principal Building without a permit, Sec. 7-2-4 


  Construction, Demolition or Removal after permit expires, Sec. 7-2-7


  Fence Construction without a valid permit, Sec. 7-2-8


  Swimming pool construction or erection without a permit, Sec. 7-2-12


  Building Code Violation, Sec. 7-5-1 (describe):


  Other:








All violations carry a fine of $75.00 if paid within 15 days.  The fine is payable to the CITY OF KNOXVILLE, IL at 33 N. Public Square, Knoxville, IL.  IF THE FINE IS NOT PAID WITHIN 15 DAYS, A COURT COMPLAINT SHALL ISSUE, AND IF YOU ARE FOUND GUILTY BY THE COURT, YOU MAY BE REQUIRED TO PAY THE MAXIMUM FINE PROVIDED BY ORDINANCE, PLUS ALL COURT COSTS.  Payment of the fine does not excuse the failure to obtain a permit or correct building code violations.  Corrective work and/or obtaining a permit may be required in addition to the above fine, and the failure to correct or abate the violation may subject you to additional fines.  



	Pursuant to Section 1-109 of the Code of Civil Procedure, the Undersigned Code Enforcement Officer states, on oath, that the information contained in the foregoing instrument is true and correct.

Date:  

/
/20









 


     MM/DD/Year




        Building Administrator


SEC. 7-5-5:  Right of Appeal

Except for violations subject to a Complaint which has been filed in a court of competent jurisdiction, any owner, operator or occupant who is aggrieved with the ruling or decision of the Building Administrator or in any matter relative to the interpretation or enforcement of any provisions of this Chapter (including those building codes or standards this Chapter incorporates by reference) may appeal the decision or interpretation to the City Council of the City of Knoxville, Illinois.  Provided, where a building has been declared unsafe or unfit for occupancy, pursuant to Article 3 of this Chapter, and the determination of the Building Administrator is eligible under Section 7-3-8 for the expedited appeal process, the expedited appeal process set forth in said Section 7-3-8 shall control the appeal process and the deadline for appeal.

SEC. 7-5-6:  Notice of Appeal


The appellant shall file his notice to appeal with the Office of the City Clerk or the Office of the City Collector at least thirty days in advance of the general meeting at which the appeal is to be considered by the City Council.  Any appeal must be taken within thirty days from the date of the decision in question.  The Building Administrator shall forthwith transmit to the City Council all the papers pertinent to the appeal.


The notice of appeal shall be in writing, signed by the appellant, and shall include:

A.
The name, address and telephone number of the appellant;

B.
A legal description and address of the property involved;

C.
A brief description of the decision in question;

D.
The reason or reasons given by the Building Administrator for violation of this Chapter and any part herein; and

E.
The grounds on which the appeal is being made.

SEC. 7-5-7:  Appeal Procedure


A.  The City Council shall consider the appeal within thirty days after the notice of appeal has been filed with the City Clerk or City Collector.  Failure of the City Council to consider the appeal at such time shall not have the effect of a decision in favor of the aggrieved party.  The City Council, at its sole discretion, may hear evidence concerning the appeal or may require that the appellant submit additional materials.  The rules of procedure during a hearing on an appeal shall be similar to the procedures of trial of civil matters in the courts of this state except where convenience and necessity require variance therefrom.  The formal rules of evidence shall not apply, but all evidence that is relevant and material and of probative value shall be admitted.  Hearsay evidence alone shall not support any decision of the City Council.


B. All appeal proceedings shall be recorded by the City Clerk.  All appeal proceedings shall be presided over by the Mayor or his delegate.  The Mayor or City Council may request the assistance of the City Attorney.  The Mayor shall rule on issues or procedure, provided that procedural rulings of the Mayor may be overruled by a majority of the City Council.  All questions of fact shall be determined by the City Council.  

SEC. 7-5-8:  City Council Decisions


A.  Every decision of the City Council shall be made at a public meeting.  Every decision of the City Council shall be made within a reasonable time from the date of the conclusion of the presentation of materials and evidence relating to the appeal, but in any event, not later than thirty days after the conclusion of the proceedings.


B.  Every decision of the City Council shall be in writing and shall be promptly sent to the Building Administrator.  A copy of the decision shall be sent by mail or otherwise to the appellant.


C.  It is the responsibility of the City Council to make fact findings and to review the findings of the Building Administrator and other officials, provided that fact findings of the Building Administrator shall be presumed to be correct until rebutted by a preponderance of the evidence to the contrary.  Except in the case of a tie, the Mayor shall not vote on the decision. 


D.  The City Council may extend any time allowance provided in this Chapter or as established by the Building Administrator.  The City Council may grant a variance from the provisions of this Chapter upon an owner, renter or lessee, upon presentation of evidence of substantial economic hardship in cases where property and the health and safety of persons are not endangered by physical injury or damage, and where enforcement of the code provision, in the circumstances supported by evidence would constitute a confiscation of property without compensation contrary to the Constitution of the United States of America and of the State of Illinois.  The City Council may not waive a violation of this Chapter; it may only vary the time of compliance.


E.  A decision of the City Council to extend any time allowance provided in this Chapter and/or to grant a variance from provisions of this Chapter, or to modify an order of the Building Administrator, shall specify in what manner such extension, variation, or modification is made, the conditions upon which it is made, and the reasons therefor.


F.  The City Council shall reverse the decision of the Building Administrator when the City Council determines that the true intent of this Chapter has been incorrectly interpreted or the provisions of this Chapter do not fully apply.


G.  If a decision of the City Council reverses the order of the Building Administrator, he or she shall take action immediately in accordance with the decision of the City Council.  No matter heard by the City Council and upon which a decision has been rendered once shall be again reviewed by the City Council.

ARTICLE 6:  Small Cell Wireless Facilities in Public Right-Of-Way
SEC.  7-6-1:  Purpose and Scope
Purpose.  The purpose of this Ordinance is to establish regulations, standards and procedures for the siting and collocation of small wireless facilities in the rights-of-way within the City’s jurisdiction, or outside the rights-of-way on property zoned by the City exclusively for commercial or industrial use, in a manner that is consistent with the Act. 

Conflicts with Other Ordinances.  This Ordinance supersedes all Ordinances or parts of Ordinances adopted prior hereto that are in conflict herewith, to the extent of such conflict. 

Conflicts with State and Federal Laws.  In the event that applicable federal or State laws or regulations conflict with the requirements of this Ordinance, the wireless provider shall comply with the requirements of this Ordinance to the maximum extent possible without violating federal or State laws or regulations.
SEC.  7-6-2:  Definitions  

For the purposes of this Chapter, the following terms shall have the following meanings: 

ANTENNA:  Communications equipment that transmits or receives electromagnetic radio frequency signals used in the provision of wireless services.

APPLICABLE CODES:  Uniform building, fire, electrical, plumbing, or mechanical codes adopted by a recognized national code organization or local amendments to those codes, including the National Electric Safety Code. 

APPLICANT:  Any person who submits an application and is a wireless provider.

APPLICATION:  A request submitted by an applicant to the City for a permit to collocate small wireless facilities, and a request that includes the installation of a new utility pole for such collocation, as well as any applicable fee for the review of such application.

COLLOCATE OR COLLOCATION:  To install, mount, maintain, modify, operate, or replace wireless facilities on or adjacent to a wireless support structure or utility pole.

COMMUNICATIONS SERVICE:  Cable service, as defined in 47 U.S.C. 522(6), as amended; information service, as defined in 47 U.S.C. 153(24), as amended; telecommunications service, as defined in 47 U.S.C. 153(53), as amended; mobile service, as defined in 47 U.S.C. 153(53), as amended; or wireless service other than mobile service.

COMMUNICATIONS SERVICE PROVIDER:  A cable operator, as defined in 47 U.S.C. 522(5), as amended; a provider of information service, as defined in 47 U.S.C. 153(24), as amended; a telecommunications carrier, as defined in 47 U.S.C. 153(51), as amended; or a wireless provider.

FCC:  The Federal Communications Commission of the United States.

FEE:  A one-time charge.

HISTORIC DISTRICT or HISTORIC LANDMARK:  A building, property, or site, or group of buildings, properties, or sites that are either (i) listed in the National Register of Historic Places or formally determined eligible for listing by the Keeper of the National Register, the individual who has been delegated the authority by the federal agency to list properties and determine their eligibility for the National Register, in accordance with Section VI.D.1.a.i through Section VI.D.1.a.v of the Nationwide Programmatic Agreement codified at 47 CFR Part 1, Appendix C; or (ii) designated as a locally landmarked building, property, site, or historic district by an ordinance adopted by the City pursuant to a preservation program that meets the requirements of the Certified Local Government Program of the Illinois State Historic Preservation Office or where such certification of the preservation program by the Illinois State Historic Preservation Office is pending.  A Historic District includes, but is not necessarily limited to, that area designated a Historic District under Section 31-3-9 of the City’s Zoning Ordinance. 
LAW:  A federal or State statute, common law, code, rule, regulation, order, or local ordinance or resolution.

MICRO WIRELESS FACILITY:  A small wireless facility that is not larger in dimension than 24 inches in length, 15 inches in width, and 12 inches in height and that has an exterior antenna, if any, no longer than 11 inches.

MUNICIPAL UTILITY POLE:  A utility pole owned or operated by the City in public rights-of-way.

PERMIT:  A written authorization required by the City to perform an action or initiate, continue, or complete a project.

PERSON:  An individual, corporation, limited liability company, partnership, association, trust, or other entity or organization.

PUBLIC SAFETY AGENCY:  The functional division of the federal government, the State, a unit of local government, or a special purpose district located in whole or in part within this State, that provides or has authority to provide firefighting, police, ambulance, medical, or other emergency services to respond to and manage emergency incidents.

RATE:  A recurring charge.

RIGHT-OF-WAY:  The area on, below, or above a public roadway, highway, street, public sidewalk, alley, or utility easement dedicated for compatible use. Right-of-way does not include City-owned aerial lines.

SMALL WIRELESS FACILITY:  A wireless facility that meets both of the following qualifications: (i) each antenna is located inside an enclosure of no more than 6 cubic feet in volume or, in the case of an antenna that has exposed elements, the antenna and all of its exposed elements could fit within an imaginary enclosure of no more than 6 cubic feet; and (ii) all other wireless equipment attached directly to a utility pole associated with the facility is cumulatively no more than 25 cubic feet in volume. The following types of associated ancillary equipment are not included in the calculation of equipment volume: electric meter, concealment elements, telecommunications demarcation box, ground-based enclosures, grounding equipment, power transfer switch, cut-off switch, and vertical cable runs for the connection of power and other services.

UTILITY POLE:  A pole or similar structure that is used in whole or in part by a communications service provider or for electric distribution, lighting, traffic control, or a similar function.

WIRELESS FACILITY:  Equipment at a fixed location that enables wireless communications between user equipment and a communications network, including: (i) equipment associated with wireless communications; and (ii) radio transceivers, antennas, coaxial or fiber-optic cable, regular and backup power supplies, and comparable equipment, regardless of technological configuration. Wireless facility includes small wireless facilities. Wireless facility does not include: (i) the structure or improvements on, under, or within which the equipment is collocated; or (ii) wireline backhaul facilities, coaxial or fiber optic cable that is between wireless support structures or utility poles or coaxial, or fiber optic cable that is otherwise not immediately adjacent to or directly associated with an antenna.

WIRELESS INFRASTRUCTURE PROVIDER:  Any person authorized to provide telecommunications service in the State that builds or installs wireless communication transmission equipment, wireless facilities, wireless support structures, or utility poles and that is not a wireless services provider but is acting as an agent or a contractor for a wireless services provider for the application submitted to the City.

WIRELESS PROVIDER:  A wireless infrastructure provider or a wireless services provider.

WIRELESS SERVICES:  Any services provided to the general public, including a particular class of customers, and made available on a nondiscriminatory basis using licensed or unlicensed spectrum, whether at a fixed location or mobile, provided using wireless facilities.

WIRELESS SERVICES PROVIDER:  A person who provides wireless services.

WIRELESS SUPPORT STRUCTURE:  A freestanding structure, such as a monopole; tower, either guyed or self-supporting; billboard; or other existing or proposed structure designed to support or capable of supporting wireless facilities. Wireless support structure does not include a utility pole.
SEC.  7-6-3:
Regulation of Small Wireless Facilities
A.
Permitted Use.  Small wireless facilities shall be classified as permitted uses and subject to administrative review, except as provided in Subsection C.9 herein regarding Height Exceptions or Variances, but not subject to zoning review or approval if they are collocated (i) in rights-of-way in any zoning district, or (ii) outside rights-of-way in property zoned exclusively for commercial or industrial use.

B.
Permit Required.  An applicant shall obtain one or more permits from the City to collocate a small wireless facility. An application shall be received and processed, and permits issued shall be subject to the following conditions and requirements:
1.
Application Requirements.  A wireless provider shall provide the following information to the City, together with the City’s Small Cell Wireless Facilities Permit Application, as a condition of any permit application to collocate small wireless facilities on a utility pole or wireless support structure:
a.
Site specific structural integrity and, for a municipal utility pole, make-ready analysis prepared by a structural engineer, as that term is defined in Section 4 of the Structural Engineering Practice Act of 1989;
b.
The location where each proposed small wireless facility or utility pole would be installed and photographs of the location and its immediate surroundings depicting the utility poles or structures on which each proposed small wireless facility would be mounted or location where utility poles or structures would be installed. This should include a depiction of the completed facility;
c.
Specifications and drawings prepared by a structural engineer, as that term is defined in Section 4 of the Structural Engineering Practice Act of 1989, for each proposed small wireless facility covered by the application as it is proposed to be installed;

d.
The equipment type and model numbers for the antennas and all other wireless equipment associated with the small wireless facility;

e.
A proposed schedule for the installation and completion of each small wireless facility covered by the application, if approved;

f.
Certification that the collocation complies with the Collocation Requirements and Conditions contained herein, to the best of the applicant’s knowledge; and

g.
In the event that the proposed small wireless facility is to be attached to an existing pole owned by an entity other than the City, the wireless provider shall provide legally competent evidence of the consent of the owner of such pole to the proposed collocation.

2.
Completeness of Application.  Within 30 days after receiving an application, the City shall determine whether the application is complete and notify the applicant. If an application is incomplete, the City must specifically identify the missing information. An application shall be deemed complete if the City fails to provide notification to the applicant within 30 days after all documents, information and fees specifically enumerated in the City's permit application form are submitted by the applicant to the City.


Processing deadlines are tolled from the time the City sends the notice of incompleteness to the time the applicant provides the missing information.
3.
Application Process.  The City shall process applications as follows:

a. The first completed application shall have priority over applications received by different applicants for collocation on the same utility pole or wireless support structure.

b. An application to collocate a small wireless facility on an existing utility pole or wireless support structure, or replacement of an existing utility pole or wireless support structure shall be processed on a nondiscriminatory basis and shall be deemed approved if the City fails to approve or deny the application within 90 days after the submission of a completed application.

However, if an applicant intends to proceed with the permitted activity on a deemed approved basis, the applicant shall notify the City in writing of its intention to invoke the deemed approved remedy no sooner than 75 days after the submission of a completed application.
The permit shall be deemed approved on the latter of the 90th day after submission of the complete application or the 10th day after the receipt of the deemed approved notice by the City. The receipt of the deemed approved notice shall not preclude the City's denial of the permit request within the time limits as provided under this Chapter.
c. An application to collocate a small wireless facility that includes the installation of a new utility pole shall be processed on a nondiscriminatory basis and deemed approved if the City fails to approve or deny the application within 120 days after the submission of a completed application.

However, if an applicant intends to proceed with the permitted activity on a deemed approved basis, the applicant shall notify the City in writing of its intention to invoke the deemed approved remedy no sooner than 105 days after the submission of a completed application.
The permit shall be deemed approved on the latter of the 120th day after submission of the complete application or the 10th day after the receipt of the deemed approved notice by the City. The receipt of the deemed approved notice shall not preclude the City's denial of the permit request within the time limits as provided under this Chapter.
d. The City shall deny an application which does not meet the requirements of this Chapter.

If the City determines that applicable codes, ordinances or regulations that concern public safety, or the Collocation Requirements and Conditions contained herein require that the utility pole or wireless support structure be replaced before the requested collocation, approval shall be conditioned on the replacement of the utility pole or wireless support structure at the cost of the wireless provider.
The City shall document the basis for a denial, including the specific code provisions or application conditions on which the denial is based, and send the documentation to the applicant on or before the day the City denies an application.

The applicant may cure the deficiencies identified by the City and resubmit the revised application once within 30 days after notice of denial is sent to the applicant without paying an additional application fee. The City shall approve or deny the revised application within 30 days after the applicant resubmits the application, or it is deemed approved. Failure to resubmit a revised application within 30 days of the denial shall require the applicant to submit a new application with applicable fees, and recommencement of the City’s review period.
The applicant must notify the City in writing of its intention to proceed with the permitted activity on a deemed approved basis, which may be submitted with the resubmitted application.

Any review of a revised application shall be limited to the deficiencies cited in the denial. However, this revised application to cure defects, does not apply if the cure requires the review of a new location, new or different structure to be collocated upon, new antennas, or other wireless equipment associated with the small wireless facility.
4.
Tolling.  Any time period involving an application may be further tolled by:
a.
An express written agreement by both the applicant and the City; or
b.
A local, State or federal disaster declaration or similar emergency that causes the delay.

5.
Consolidated Applications.  An applicant seeking to collocate small wireless facilities within the jurisdiction of the City shall be allowed, at the applicant's discretion, to file a consolidated application and receive a single permit for the collocation of up to 25 small wireless facilities if the collocations each involve substantially the same type of small wireless facility and substantially the same type of structure.
If an application includes multiple small wireless facilities, the City may remove small wireless facility collocations from the application and treat separately small wireless facility collocations for which incomplete information has been provided or that do not qualify for consolidated treatment or that are denied. The City may issue separate permits for each collocation that is approved in a consolidated application.

6.
Duration of Permits.  The duration of a permit shall be for a period of five (5) years, and the permit shall be renewed for equivalent durations unless the City makes a finding that the small wireless facility or the new or modified utility pole do not comply with the applicable City codes or any provision, condition or requirement contained in this Chapter.

If the Act is repealed as provided in Section 90 therein, renewals of permits shall be subject to the applicable City code provisions or regulations in effect at the time of renewal.
7.
Means of Submitting Applications.  Applicants shall submit applications, supporting information, and notices to the City’s Zoning Officer at the Knoxville City Hall, 33 North Public Square, Knoxville, Illinois, 61448, by regular mail postmarked on the date due or by any other commonly used means, including electronic mail.
C.
Collocation Requirements and Conditions.

1.
Public Safety Space Reservation.  The City may reserve space on municipal utility poles for future public safety uses, for the City’s electric utility uses, or both, but a reservation of space may not preclude the collocation of a small wireless facility unless the City reasonably determines that the municipal utility pole cannot accommodate both uses.

2.
Installation and Maintenance.  The wireless provider shall install, maintain, repair and modify its small wireless facilities in safe condition and good repair and in compliance with the requirements and conditions of this Chapter. The wireless provider shall ensure that its employees, agents or contractors that perform work in connection with its small wireless facilities are adequately trained and skilled in accordance with all applicable industry and governmental standards and regulations.

3.
No interference with public safety communication frequencies.  The wireless provider's operation of the small wireless facilities shall not interfere with the frequencies used by a public safety agency for public safety communications.
A wireless provider shall install small wireless facilities of the type and frequency that will not cause unacceptable interference with a public safety agency's communications equipment. 

Unacceptable interference will be determined by and measured in accordance with industry standards and the FCC's regulations addressing unacceptable interference to public safety spectrum or any other spectrum licensed by a public safety agency.

If a small wireless facility causes such interference, and the wireless provider has been given written notice of the interference by the public safety agency, the wireless provider, at its own expense, shall remedy the interference in a manner consistent with the abatement and resolution procedures for interference with public safety spectrum established by the FCC including 47 CFR 22.970 through 47 CFR 22.973 and 47 CFR 90.672 through 47 CFR 90.675.

The City may terminate a permit for a small wireless facility based on such interference if the wireless provider is not in compliance with the Code of Federal Regulations cited in the previous Paragraph. Failure to remedy the interference as required herein shall constitute a public nuisance.

4.
The wireless provider shall not collocate small wireless facilities on City utility poles that are part of an electric distribution or transmission system within the communication worker safety zone of the pole or the electric supply zone of the pole.

However, the antenna and support equipment of the small wireless facility may be located in the communications space on the City utility pole and on the top of the pole, if not otherwise unavailable, if the wireless provider complies with applicable codes for work involving the top of the pole.

For purposes of this subparagraph, the terms "communications space", "communication worker safety zone", and "electric supply zone" have the meanings given to those terms in the National Electric Safety Code as published by the Institute of Electrical and Electronics Engineers.
5.
The wireless provider shall comply with all applicable codes and local code provisions or regulations that concern public safety.
6.
The wireless provider shall comply with written design standards that are generally applicable for decorative utility poles, or reasonable stealth, concealment and aesthetic requirements that are set forth in any City ordinance, written policy adopted by the City, comprehensive plan or other written design plan that applies to other occupiers of the rights-of-way, including location on a historic landmark or in a historic district.  These written design standards include, but are not limited to, the design standards applicable to the City’s Historic District as set forth in Sections 31-3-10, 31-3-11 and 31-3-12 of the City’s Zoning Ordinance, as amended from time to time.

7.
Alternate Placements.  Except as provided in this Collocation Requirements and Conditions Section, a wireless provider shall not be required to collocate small wireless facilities on any specific utility pole, or category of utility poles, or be required to collocate multiple antenna systems on a single utility pole. However, with respect to an application for the collocation of a small wireless facility associated with a new utility pole, the City may propose that the small wireless facility be collocated on an existing utility pole or existing wireless support structure within 100 feet of the proposed collocation, which the applicant shall accept if it has the right to use the alternate structure on reasonable terms and conditions, and the alternate location and structure do not impose technical limits or additional material costs as determined by the applicant.


If the applicant refuses a collocation proposed by the City, the applicant shall provide written certification describing the property rights, technical limits or material cost reasons the alternate location does not satisfy the criteria in this Paragraph.
8.
Height Limitations.  The maximum height of a small wireless facility shall be no more than 10 feet above the utility pole or wireless support structure on which the small wireless facility is collocated.


New or replacement utility poles or wireless support structures on which small wireless facilities are collocated may not exceed the higher of:
a.
10 feet in height above the tallest existing utility pole, other than a utility pole supporting only wireless facilities, that is in place on the date the application is submitted to the City, that is located within 300 feet of the new or replacement utility pole or wireless support structure and that is in the same right-of-way within the jurisdictional boundary of the City, provided the City may designate which intersecting right-of-way within 300 feet of the proposed utility pole or wireless support structures shall control the height limitation for such facility; or

b.
45 feet above ground level.

9.
Height Exceptions or Variances.  If an applicant proposes a height for a new or replacement pole in excess of the above height limitations on which the small wireless facility is proposed for collocation, the applicant shall apply for a special use permit in conformance with procedures, terms and conditions set forth in Section 15.15.10 of this City Code.
10.
Contractual Design Requirements.  The wireless provider shall comply with requirements that are imposed by a contract between the City and a private property owner that concern design or construction standards applicable to utility poles and ground-mounted equipment located in the rights-of-way.
11.
Ground-mounted Equipment Spacing.  The wireless provider shall comply with applicable spacing requirements in applicable codes and ordinances concerning the location of ground-mounted equipment located in the right-of-way if the requirements include a waiver, zoning or other process that addresses a wireless provider’s request for exception or variance and do not prohibit granting of such exceptions or variances.
12.
Undergrounding Regulations.  The wireless provider shall comply with local code provisions or regulations concerning undergrounding requirements that prohibit the installation of new or the modification of existing utility poles in a right-of-way without prior approval if the requirements include a waiver, zoning or other process that addresses requests to install such new utility poles or modify such existing utility poles and do not prohibit the replacement of utility poles.
13.
Collocation Completion Deadline.  Collocation for which a permit is granted shall be completed within 180 days after issuance of the permit, unless the City and the wireless provider agree to extend this period or a delay is caused by make-ready work for a municipal utility pole or by the lack of commercial power or backhaul availability at the site, provided the wireless provider has made a timely request within 60 days after the issuance of the permit for commercial power or backhaul services, and the additional time to complete installation does not exceed 360 days after issuance of the permit. Otherwise, the permit shall be void unless the City grants an extension in writing to the applicant.

D.
Application Fees.  Application fees are imposed as follows:
1.
Applicant shall pay an application fee of $650 for an application to collocate a single small wireless facility on an existing utility pole or wireless support structure, and $350 for each small wireless facility addressed in a consolidated application to collocate more than one small wireless facility on existing utility poles or wireless support structures.
2.
Applicant shall pay an application fee of $1,000 for each small wireless facility addressed in an application that includes the installation of a new utility pole for such collocation.
3.
Notwithstanding any contrary provision of State law or local ordinance, applications pursuant to this Section shall be accompanied by the required application fee. Application fees shall be non-refundable.
4.
The City shall not require an application, approval or permit, or require any fees or other charges, from a communications service provider authorized to occupy the rights-of-way, for:

a.
routine maintenance;
b.
the replacement of wireless facilities with wireless facilities that are substantially similar, the same size, or smaller if the wireless provider notifies the City at least 10 days prior to the planned replacement and includes equipment specifications for the replacement of equipment consistent with Subsection B.1.d herein titled Application Requirements; or
c.
the installation, placement, maintenance, operation or replacement of micro wireless facilities suspended on cables that are strung between existing utility poles in compliance with applicable safety codes.
5.
Wireless providers shall secure a permit from the City to work within rights-of-way for activities that affect traffic patterns or require lane closures.

E.
Exceptions to Applicability.  Nothing in this Chapter authorizes a person to collocate small wireless facilities on:


1.
property owned by a private party or property owned or controlled by the City or another unit of local government that is not located within rights-of-way, or a privately-owned utility pole or wireless support structure without the consent of the property owner;


2.
property owned, leased, or controlled by a park district, forest preserve district, or conservation district for public park, recreation or conservation purposes without the consent of the affected district, excluding the placement of facilities on rights-of-way located in an affected district that are under the jurisdiction and control of a different unit of local government as provided by the Illinois Highway Code; or



3.
property owned by a rail carrier registered under Section 18c-7201 of the Illinois Vehicle Code, Metra Commuter Rail or any other public commuter rail service, or an electric utility as defined in Section 16-102 of the Public Utilities Act, without the consent of the rail carrier, public commuter rail service, or electric utility. The provisions of this Ordinance do not apply to an electric or gas public utility or such utility's wireless facilities if the facilities are being used, developed and maintained consistent with the provisions of subsection (i) of Section 16-108.5 of the Public Utilities Act.
For the purposes of this subsection, "public utility" has the meaning given to that term in Section 3-105 of the Public Utilities Act. Nothing in this Ordinance shall be construed to relieve any person from any requirement (a) to obtain a franchise or a State-issued authorization to offer cable service or video service or (b) to obtain any required permission to install, place, maintain, or operate communications facilities, other than small wireless facilities subject to this Ordinance.
F.
Pre-Existing Agreements.  Existing agreements between the City and wireless providers that relate to the collocation of small wireless facilities in the rights-of-way, including the collocation of small wireless facilities on City utility poles, that are in effect on June 1, 2018, remain in effect for all small wireless facilities collocated on the City’s utility poles pursuant to applications submitted to the City before June 1, 2018, subject to applicable termination provisions contained therein. Agreements entered into after June 1, 2018, shall comply with this Chapter.

A wireless provider that has an existing agreement with the City on the effective date of the Act may accept the rates, fees and terms that the City makes available under this Chapter for the collocation of small wireless facilities or the installation of new utility poles for the collocation of small wireless facilities that are the subject of an application submitted two (2) or more years after the effective date of the Act, by notifying the City that it opts to accept such rates, fees and terms. The existing agreement remains in effect, subject to applicable termination provisions, for the small wireless facilities the wireless provider has collocated on the City’s utility poles pursuant to applications submitted to the City before the wireless provider provides such notice and exercises its option under this Paragraph.

G.
Annual Recurring Rate.  A wireless provider shall pay to the City an annual recurring rate to collocate a small wireless facility on a City utility pole located in a right-of-way that equals (i) $200 per year or (ii) the actual, direct and reasonable costs related to the wireless provider’s use of space on the City utility pole.

If the City has not billed the wireless provider actual and direct costs, the fee shall be $200 payable on the first day after the first annual anniversary of the issuance of the permit or notice of intent to collocate, and on each annual anniversary date thereafter.
H.
Abandonment.  A small wireless facility that is not operated for a continuous period of 12 months shall be considered abandoned. The owner of the facility shall remove the small wireless facility within 90 days after receipt of written notice from the City notifying the wireless provider of the abandonment. 

The notice shall be sent by certified or registered mail, return receipt requested, by the City to the owner at the last known address of the wireless provider. If the small wireless facility is not removed within 90 days of such notice, the City may remove or cause the removal of such facility through whatever actions are provided for abatement of nuisances or by other law for removal and cost recovery. 

A wireless provider shall provide written notice to the City within 30 days of the sale or transfer of a small wireless facility within the jurisdiction of the City. Such notice shall include the name and contact information of the new wireless provider.

SEC. 7-6-4:
Dispute Resolution

The Circuit Court of Knox County shall have exclusive jurisdiction to 
resolve all disputes arising under the Small Wireless Facilities Deployment 
Act. Pending resolution of a dispute concerning rates for collocation of small 
wireless facilities on municipal utility poles within the right-of-way, 
the City shall allow the collocating person to collocate on its poles at annual rates of no more than $200 per year per municipal utility pole, with rates to be determined upon final resolution of the dispute.


SEC.  7-6-5:  Indemnification  
A wireless provider shall indemnify and hold the City harmless against any 
and all liability or loss from personal injury or property damage resulting from or 
arising out of, in whole or in part, the use or occupancy of the City 
improvements or right-of-way associated with such improvements by the 
wireless provider or its employees, agents, or contractors arising out of the 
rights and privileges granted under this Chapter and the Act. A wireless 
provider has no obligation to indemnify or hold harmless against any 
liabilities and losses as may be due to or caused by the sole negligence of 
the City or its employees or agents. A wireless provider shall further waive 
any claims that they may have against the City with respect to 
consequential, incidental, or special damages, however caused, based on 
the          
theory of liability.
SEC.  7-6-6:
Insurance
The wireless provider shall carry, at the wireless provider's own cost and 
expense, the following insurance:
A. property insurance for its property's replacement cost against all risks; 

B. and workers' compensation insurance, as required by law; and
C.
commercial general liability insurance with respect to its activities on the City improvements or rights-of-way, including coverage for bodily injury and property damage in the amount of not less than one million dollars ($1,000,000) per occurrence with an aggregate limit of not less than one million dollars ($1,000,000).

The wireless provider shall include the City as an additional insured on the commercial general liability policy and provide certification and documentation of inclusion of the City in a commercial general liability policy prior to the collocation of any wireless facility.

A wireless provider may self-insure all or a portion of the insurance coverage and limit requirement required by the City. A wireless provider that self-insures is not required, to the extent of the self-insurance, to comply with the requirement for the name of additional insureds under this Section. A wireless provider that elects to self-insure shall provide to the City evidence sufficient to demonstrate its financial ability to self-insure the insurance coverage limits required by the City.

As used in this Section, “financial ability to self-insure” shall mean having and maintaining net unrestricted assets of at least one hundred million dollars ($100,000,000.00), as determined in accordance with generally accepted accounting methods consistently applied, while maintaining appropriate loss reserves for the amount of self-insurance obligations established in this Section and otherwise which are actuarially derived in accordance with accepted standards of insurance industry and accrued or otherwise funded.
SEC.
7-6-7:  Severability  
If any provision of this Article or application thereof to any person or circumstances is held or ruled to be unconstitutional or otherwise invalid, such invalidity shall not affect other provisions or applications of this Article that can be given effect without the invalid application or provision, and each invalid provision or invalid application of this Article is severable 
	
	City of Knoxville 
	
	
	
	

	
	 Building Permit Fees 
	
	
	
	

	
	Approved 4-3-2017
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	Proposed Changes per

	
	
	
	Categories
	
	Building Code Ordinance
	
	Building Administrator

	
	
	
	
	
	
	
	

	
	1
	
	Residential garages (attached or detached)
	
	$0.20 per sq ft
	
	$0.20 per sq ft

	
	2
	
	Residences (with unfinished basement)
	
	$0.20 per sq ft
	
	$0.20 per sq ft

	
	3
	
	Residences (with finished basement)
	
	$0.20 per sq ft
	
	$0.20 per sq ft

	
	4


	
	Single and Two Family residences / finished basement 

/ converting garages /attic to living space
	$0.10 per sq ft


	
	$0.10 per sq ft



	
	5
	
	Commercial buildings (finished for retail/office, etc)
	
	$0.10 per sq ft
	
	N/C

	
	6
	
	Warehouses (pole type)
	
	$0.20 per sq ft
	
	$0.20 per sq ft

	
	7


	
	Any attached appurtenance to any of the above

buildings - square foot price for type of use

minimum fee $5.00 
	$0.10 per sq ft



	
	8
	
	Fence Construction (at Building Inspector’s discretion)
	
	$50.00 
	
	$50.00 

	
	9
	
	Swimming pools in or above ground
	
	$25.00 
	
	N/C

	
	10
	
	Residential decks / ramps / porches
	
	$25.00 (approved 6-19-2017)
	
	$25.00 per linear foot *

	
	11
	
	Utility Shed (less than 150 sq ft)
	
	$25.00 
	
	N/C

	
	12


	
	Single and Two Family residences / finished basement 

/ converting garages /attic to living space
	$0.05 per sq ft


	
	N/C



	
	
	
	
	
	
	
	No Longer applicable, 

remove

	
	13

	Multi-family residential building (not including 

basement unless finished for living space)


	$15.00 for 1st $1,000 cost

and $5.00 for each $1,000 

or fraction thereof
	N/C



	
	14

	Commercial and Institutional buildings when 

finished for retail or office use.


	$15.00 for 1st $1,000 cost

and $5.00 for each $1,000 

or fraction thereof
	N/C



	
	15

	Nonresidential change of use or remodel


	
	$15.00 for 1st $1,000 cost

and $5.00 for each $1,000 

or fraction thereof
	N/C



	
	16

	Warehouse and industrial buildings when primarily unfinished


	$15.00 for 1st $1,000 cost

and $5.00 for each $1,000 

or fraction thereof
	N/C



	
	17

	
	Moveable structure on fixed foundation

 
	$100.00

	
	$100.00 **



	
	18
	
	Sign
	
	$25.00 
	
	N/C

	
	19

	
	Demolition or removal permit fee 50% of the then

current building permit fee for that structure
	
	N/C



	
	20
           21                
	
	Failure to secure permit fine

Floating (or unattached) decks (added 10-19-2020)
	
	$50.00
$25.00 
	
	N/C

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	** Police Department involvement is required.
	
	
	
	

	
	
	
	 
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


